## Accuracy Statement
ACCURACY STATEMENT
| Bore size | 2 | Inches | <-------Select Inches or mm from drop down menu, then select size from drop down menu
| Flow | 25 | m3/hr | <-------Enter flow rate, then select flow rate unit from drop down menu
| AXF Liner | PFA
| Vmax | 3.5368 | m/sec
|  | 11.6034 | ft/sec
FLOWRATE
| m3/hr | % of Span | AXW | AXG - Standard Accuracy | Other | Other | Other | Other
|  |  | % of Rate | % of Rate | % of Rate | % of Rate | % of Rate | % of Rate
| 25 | 100 | 0.35 | 0.3 | #N/A | #N/A | #N/A | #N/A
| 22.5 | 90 | 0.35 | 0.3 | #N/A | #N/A | #N/A | #N/A
| 20 | 80 | 0.35 | 0.3 | #N/A | #N/A | #N/A | #N/A
| 17.5 | 70 | 0.35 | 0.3 | #N/A | #N/A | #N/A | #N/A
| 15 | 60 | 0.35 | 0.3 | #N/A | #N/A | #N/A | #N/A
| 12.5 | 50 | 0.35 | 0.3 | #N/A | #N/A | #N/A | #N/A
| 10 | 40 | 0.35 | 0.3 | #N/A | #N/A | #N/A | #N/A
| 7.5 | 30 | 0.35 | 0.3 | #N/A | #N/A | #N/A | #N/A
| 5 | 20 | 0.35 | 0.3 | #N/A | #N/A | #N/A | #N/A
| 2.5 | 10 | 0.35 | 0.3 | #N/A | #N/A | #N/A | #N/A
| 1.25 | 5 | 1.131 | 0.3 | #N/A | #N/A | #N/A | #N/A
This is to be used for reference only

## Area Calc for Velocity value (hidden)
Inches | mm | Inches | Area | l/sec | l/min | l/hr | m3/hr | Ml/day | gal/sec | gal/min | gal/hour | ft3/hr
0.1 | 2.5 | 0.1 | 4.9088e-06 | 0.0049087 | 0.29452 | 17.6715 | 0.017671 | 0.00042412 | 0.0012967 | 0.077805 | 4.6683 | 0.62406
0.2 | 5 | 0.2 | 1.9635e-05 | 0.019635 | 1.1781 | 70.686 | 0.070686 | 0.0016965 | 0.005187 | 0.31122 | 18.6731 | 2.4962 | Area look up | 7.0686
0.4 | 10 | 0.4 | 7.854e-05 | 0.07854 | 4.7124 | 282.744 | 0.28274 | 0.0067859 | 0.020748 | 1.2449 | 74.6925 | 9.9849
0.5 | 15 | 0.5 | 0.00017672 | 0.17672 | 10.6029 | 636.174 | 0.63617 | 0.015268 | 0.046683 | 2.801 | 168.0581 | 22.4661
1 | 25 | 1 | 0.00049088 | 0.49088 | 29.4525 | 1767.15 | 1.7672 | 0.042412 | 0.12967 | 7.7805 | 466.828 | 62.4058
1.25 | 32 | 1.25 | 0.00080425 | 0.80425 | 48.255 | 2895.2986 | 2.8953 | 0.069487 | 0.21246 | 12.7475 | 764.851 | 102.2457
1.5 | 40 | 1.5 | 0.0012566 | 1.2566 | 75.3984 | 4523.904 | 4.5239 | 0.10857 | 0.33197 | 19.918 | 1195.0797 | 159.7589
2 | 50 | 2 | 0.0019635 | 1.9635 | 117.81 | 7068.6 | 7.0686 | 0.16965 | 0.5187 | 31.1219 | 1867.3121 | 249.6233
2.5 | 65 | 2.5 | 0.0033183 | 3.3183 | 199.0989 | 11945.934 | 11.9459 | 0.2867 | 0.8766 | 52.596 | 3155.7574 | 421.8634
3 | 80 | 3 | 0.0050266 | 5.0266 | 301.5936 | 18095.616 | 18.0956 | 0.43429 | 1.3279 | 79.672 | 4780.3189 | 639.0357
4 | 100 | 4 | 0.007854 | 7.854 | 471.24 | 28274.4 | 28.2744 | 0.67859 | 2.0748 | 124.4875 | 7469.2482 | 998.4933
5 | 125 | 5 | 0.012272 | 12.2719 | 736.3125 | 44178.75 | 44.1788 | 1.0603 | 3.2419 | 194.5117 | 11670.7004 | 1560.1457
6 | 150 | 6 | 0.017671 | 17.6715 | 1060.29 | 63617.4 | 63.6174 | 1.5268 | 4.6683 | 280.0968 | 16805.8086 | 2246.6098
8 | 200 | 8 | 0.031416 | 31.416 | 1884.96 | 113097.6 | 113.0976 | 2.7143 | 8.2992 | 497.9499 | 29876.993 | 3993.973
10 | 250 | 10 | 0.049087 | 49.0875 | 2945.25 | 176715 | 176.715 | 4.2412 | 12.9674 | 778.0467 | 46682.8015 | 6240.5828
12 | 300 | 12 | 0.070686 | 70.686 | 4241.16 | 254469.6 | 254.4696 | 6.1073 | 18.6731 | 1120.3872 | 67223.2342 | 8986.4393
14 | 350 | 14 | 0.096211 | 96.2115 | 5772.69 | 346361.4 | 346.3614 | 8.3127 | 25.4162 | 1524.9715 | 91498.291 | 12231.5424
16 | 400 | 16 | 0.12566 | 125.664 | 7539.84 | 452390.4 | 452.3904 | 10.8574 | 33.1967 | 1991.7995 | 119507.972 | 15975.8921
18 | 450 | 18 | 0.15904 | 159.0435 | 9542.61 | 572556.6 | 572.5566 | 13.7414 | 42.0145 | 2520.8713 | 151252.277 | 20219.4884 | Size of the unit | 50
20 | 500 | 20 | 0.19635 | 196.35 | 11781 | 706860 | 706.86 | 16.9646 | 51.8698 | 3112.1868 | 186731.2062 | 24962.3314
24 | 600 | 24 | 0.28274 | 282.744 | 16964.64 | 1017878.4 | 1017.8784 | 24.4291 | 74.6925 | 4481.5489 | 268892.9369 | 35945.7572
28 | 700 | 28 | 0.38485 | 384.846 | 23090.76 | 1385445.6 | 1385.4456 | 33.2507 | 101.6648 | 6099.8861 | 365993.1642 | 48926.1695
32 | 800 | 32 | 0.50266 | 502.656 | 30159.36 | 1809561.6 | 1809.5616 | 43.4295 | 132.7866 | 7967.1981 | 478031.8879 | 63903.5683
36 | 900 | 36 | 0.63617 | 636.174 | 38170.44 | 2290226.4 | 2290.2264 | 54.9654 | 168.0581 | 10083.4851 | 605009.1081 | 80877.9537
40 | 1000 | 40 | 0.7854 | 785.4 | 47124 | 2827440 | 2827.44 | 67.8586 | 207.4791 | 12448.7471 | 746924.8248 | 99849.3255
The Above values are used as a look up tabel to determine the velocity of flow through a certain sized tube based on the flow rate unit
Drop Down Lists
|  |  | Size Units | Liner | Liner Group | Size in mm | Size in Inches | Flow Unit | Model Number | Size look up (Used for drop down menu for "Accuracy Statement)
|  |  | Inches | Natural Soft Rubber | 1 | 2.5 | 0.1 | l/sec | AXF - Standard Accuracy | 0.1 |  |  | Liner Group Type | 1
|  |  | mm | Hard Rubber | 1 | 5 | 0.2 | l/min | AXF - High Accuracy | 0.2
|  |  |  | Polyurethane Rubber | 1 | 10 | 0.4 | l/hr | AXG - Standard Accuracy | 0.4
|  |  |  | PFA | 1 | 15 | 0.5 | m3/hr | AXG - High Accuracy | 0.5 | Cuurent drop down menu limited from 0.5"-16" or 15mm to 400mm
|  |  |  | Ceramic | 1 | 25 | 1 | Ml/day | AXW | 1
[6 empty] | 32 | 1.25 | gal/sec | EPM - Standard | 1.25
[6 empty] | 40 | 1.5 | gal/min | EPM- High | 1.5
[6 empty] | 50 | 2 | gal/hr | Optiflux 4100 | 2
[6 empty] | 65 | 2.5 | ft3/hr | Optiflux 4300 | 2.5
[6 empty] | 80 | 3 |  | Promag 50P | 3
[6 empty] | 100 | 4 |  | Promag 53P | 4
[6 empty] | 125 | 5 |  | ABB FEP 300 | 5
[6 empty] | 150 | 6 |  | ABB FEP 500 | 6
[6 empty] | 200 | 8 |  | ABB FEP 300/500 High | 8
[6 empty] | 250 | 10 |  | Other | 10
[6 empty] | 300 | 12 |  |  | 12
[6 empty] | 350 | 14 |  |  | 14
[6 empty] | 400 | 16 |  |  | 16
[6 empty] | 450 | 18 |  |  | 18
[6 empty] | 500 | 20 |  |  | 20
[6 empty] | 600 | 24 |  |  | 24
[6 empty] | 700 | 28 |  |  | 28
[6 empty] | 800 | 32 |  |  | 32
[6 empty] | 900 | 36 |  |  | 36
[6 empty] | 1000 | 40 |  |  | 40
|  |  | ABB Q Max values | [5 empty] | ABB FEP 500
|  |  | Inches | mm | M3/hr
|  |  | 0.5 | 15 | 6
|  |  | 1 | 25 | 12
|  |  | 1.25 | 32 | 24
|  |  | 1.5 | 40 | 36
|  |  | 2 | 50 | 60
|  |  | 2.5 | 65 | 120
|  |  | 3 | 80 | 180
|  |  | 4 | 100 | 240
|  |  | 5 | 125 | 420
|  |  | 6 | 150 | 600
|  |  | 8 | 200 | 1080
|  |  | 10 | 250 | 1800
|  |  | 12 | 300 | 2400
|  |  | 14 | 350 | 3300
|  |  | 16 | 400 | 4500
This is the Area look up used to divide the flow rate by to get velocity. It is based on teh size of teh unit and the flow rate unit.
Coloumn changes based on the unit (mm or Inches) selected by user. Used for lookup to get the "Area look up"
Size of the unit being calculated. Value in "mm, this is used for accuracy calculatios. Automatically updated based on user input.
Automatically puls in liner type "1, 2, 3 or 4"" to determine what accuracy specification to use. This is used in the "AXF Calculator"

## AXF Calculator (hidden)
|  |  | AXF Standard accuracy | [5 empty] | AXF High accuracy |  |  |  | AXG Standard accuracy |  |  |  | AXG High accuracy |  |  |  | AXW Standard Accuracy
size | 50 |  | PFA/Ceramic | PFA | Ceramic | Final PFA/Ceramic Accuracy | Poly, HR, NSR | Final Accuracy For | Ceramic/PFA | Non ceramic/PFA | Non ceramic/PFA | Final High accuracy | PFA/Ceramic | PFA | Ceramic | Final AXG PFA/Ceramic Accuracy | Ceramic/PFA | Non ceramic/PFA | Non ceramic/PFA | Final High accuracy | Poly, HR, NSR | Final Accuracy For |  | AXF - Standard Accuracy | AXF - High Accuracy | AXG - Standard Accuracy | AXG - High Accuracy | AXW | Promag 50P | Promag 53P | EPM - Standard | EPM- High | Optiflux 4100 | Optiflux 4300 | ABB FEP 500 | ABB FEP 300 | ABB FEP 300/500 High | Optiflux 4300 | RXF
% of Span | Velocity | Velocity mm/s | 15mm | 25-400mm | 25-200 | 15-400mm | 25-400mm | AXF Standard | Error >=25-200 | Error >=25-400 | Error >400mm | AXF Standard | 15mm | 25-400mm | 25-200 | 15-400mm | Error >=25-200 | Error >=25-400 | Error >400mm | AXG Standard | 25-400mm | AXW Standard | % Span | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate) | ERROR (% of Rate)
100 | 3.5368 | 3536.7682 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 100 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.52827 | 0.25655 | 0.29241 | 0.17827 | 0.32827 | 0.22827 | 0.35655 | 0.45655 | 0.25655 | 285.9143 | 0.53534
97.5 | 3.4483 | 3448.349 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 97.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.529 | 0.258 | 0.2935 | 0.179 | 0.329 | 0.229 | 0.358 | 0.458 | 0.258 | 285.9143 | 0.53625
95 | 3.3599 | 3359.9298 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 95 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.52976 | 0.25953 | 0.29464 | 0.17976 | 0.32976 | 0.22976 | 0.35953 | 0.45953 | 0.25953 | 285.9143 | 0.5372
92.5 | 3.2715 | 3271.5106 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 92.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.53057 | 0.26113 | 0.29585 | 0.18057 | 0.33057 | 0.23057 | 0.36113 | 0.46113 | 0.26113 | 285.9143 | 0.53821
90 | 3.1831 | 3183.0914 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 90 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.53142 | 0.26283 | 0.29712 | 0.18142 | 0.33142 | 0.23142 | 0.36283 | 0.46283 | 0.26283 | 285.9143 | 0.53927
87.5 | 3.0947 | 3094.6722 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 87.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.53231 | 0.26463 | 0.29847 | 0.18231 | 0.33231 | 0.23231 | 0.36463 | 0.46463 | 0.26463 | 285.9143 | 0.54039
85 | 3.0063 | 3006.253 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 85 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.53326 | 0.26653 | 0.2999 | 0.18326 | 0.33326 | 0.23326 | 0.36653 | 0.46653 | 0.26653 | 285.9143 | 0.54158
82.5 | 2.9178 | 2917.8338 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 82.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.53427 | 0.26854 | 0.30141 | 0.18427 | 0.33427 | 0.23427 | 0.36854 | 0.46854 | 0.26854 | 285.9143 | 0.54284
80 | 2.8294 | 2829.4146 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 80 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.53534 | 0.27069 | 0.30301 | 0.18534 | 0.33534 | 0.23534 | 0.37069 | 0.47069 | 0.27069 | 285.9143 | 0.54418
77.5 | 2.741 | 2740.9954 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 77.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.53648 | 0.27297 | 0.30472 | 0.18648 | 0.33648 | 0.23648 | 0.37297 | 0.47297 | 0.27297 | 285.9143 | 0.5456
75 | 2.6526 | 2652.5762 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 75 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.5377 | 0.2754 | 0.30655 | 0.1877 | 0.3377 | 0.2377 | 0.3754 | 0.4754 | 0.2754 | 285.9143 | 0.54712
72.5 | 2.5642 | 2564.157 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 72.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.539 | 0.278 | 0.3085 | 0.189 | 0.339 | 0.239 | 0.378 | 0.478 | 0.278 | 285.9143 | 0.54875
70 | 2.4757 | 2475.7378 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 70 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.54039 | 0.28078 | 0.31059 | 0.19039 | 0.34039 | 0.24039 | 0.38078 | 0.48078 | 0.28078 | 285.9143 | 0.55049
67.5 | 2.3873 | 2387.3186 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 67.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.54189 | 0.28378 | 0.31283 | 0.19189 | 0.34189 | 0.24189 | 0.38378 | 0.48378 | 0.28378 | 285.9143 | 0.55236
65 | 2.2989 | 2298.8994 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 65 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.5435 | 0.287 | 0.31525 | 0.1935 | 0.3435 | 0.2435 | 0.387 | 0.487 | 0.287 | 285.9143 | 0.55437
62.5 | 2.2105 | 2210.4802 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 62.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.54524 | 0.29048 | 0.31786 | 0.19524 | 0.34524 | 0.24524 | 0.39048 | 0.49048 | 0.29048 | 285.9143 | 0.55655
60 | 2.1221 | 2122.0609 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 60 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.54712 | 0.29425 | 0.32069 | 0.19712 | 0.34712 | 0.24712 | 0.39425 | 0.49425 | 0.29425 | 285.9143 | 0.5589
57.5 | 2.0336 | 2033.6417 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 57.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.54917 | 0.29835 | 0.32376 | 0.19917 | 0.34917 | 0.24917 | 0.39835 | 0.49835 | 0.29835 | 285.9143 | 0.56147
55 | 1.9452 | 1945.2225 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 55 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.55141 | 0.30282 | 0.30141 | 0.20141 | 0.35141 | 0.25141 | 0.40282 | 0.50282 | 0.30282 | 285.9143 | 0.56426
52.5 | 1.8568 | 1856.8033 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 52.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.55386 | 0.30771 | 0.30386 | 0.20386 | 0.35386 | 0.25386 | 0.40771 | 0.50771 | 0.30771 | 285.9143 | 0.56732
50 | 1.7684 | 1768.3841 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 50 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.55655 | 0.3131 | 0.30655 | 0.20655 | 0.35655 | 0.25655 | 0.4131 | 0.5131 | 0.3131 | 285.9143 | 0.57069
47.5 | 1.68 | 1679.9649 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 47.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.55953 | 0.31905 | 0.30953 | 0.20953 | 0.35953 | 0.25953 | 0.41905 | 0.51905 | 0.31905 | 285.9143 | 0.57441
45 | 1.5915 | 1591.5457 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 45 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.56283 | 0.32566 | 0.31283 | 0.21283 | 0.36283 | 0.26283 | 0.42566 | 0.52566 | 0.32566 | 285.9143 | 0.57854
42.5 | 1.5031 | 1503.1265 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 42.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.56653 | 0.33306 | 0.31653 | 0.21653 | 0.36653 | 0.26653 | 0.43306 | 0.53306 | 0.33306 | 285.9143 | 0.58316
40 | 1.4147 | 1414.7073 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 40 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.57069 | 0.34137 | 0.32069 | 0.22069 | 0.37069 | 0.27069 | 0.44137 | 0.54137 | 0.34137 | 285.9143 | 0.58836
37.5 | 1.3263 | 1326.2881 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 37.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.5754 | 0.3508 | 0.3254 | 0.2254 | 0.3754 | 0.2754 | 0.4508 | 0.5508 | 0.3508 | 285.9143 | 0.59425
35 | 1.2379 | 1237.8689 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 35 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.58078 | 0.36157 | 0.33078 | 0.23078 | 0.38078 | 0.28078 | 0.46157 | 0.56157 | 0.36157 | 285.9143 | 0.60098
32.5 | 1.1494 | 1149.4497 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 32.5 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.587 | 0.374 | 0.337 | 0.237 | 0.387 | 0.287 | 0.474 | 0.574 | 0.374 | 285.9143 | 0.60875
30 | 1.061 | 1061.0305 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2 | #REF! | #REF! | 0.2 | #NA | 0.3 | 0.3 | 0.3 | 0.15 | #REF! | #REF! | 0.15 | 0.35 | 0.35 | 30 | 0.35 | 0.2 | 0.3 | 0.15 | 0.35 | 0.59425 | 0.3885 | 0.34425 | 0.24425 | 0.39425 | 0.29425 | 0.4885 | 0.5885 | 0.3885 | 285.9143 | 0.61781
27.5 | 0.97261 | 972.6113 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.20056 | #REF! | #REF! | 0.20056 | #NA | 0.3 | 0.3 | 0.3 | 0.20056 | #REF! | #REF! | 0.20056 | 0.35 | 0.35 | 27.5 | 0.35 | 0.20056 | 0.3 | 0.20056 | 0.35 | 0.60282 | 0.40563 | 0.35282 | 0.25282 | 0.40282 | 0.30282 | 0.50563 | 0.60563 | 0.40563 | 285.9143 | 0.62852
25 | 0.88419 | 884.1921 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.20262 | #REF! | #REF! | 0.20262 | #NA | 0.3 | 0.3 | 0.3 | 0.20262 | #REF! | #REF! | 0.20262 | 0.35 | 0.35 | 25 | 0.35 | 0.20262 | 0.3 | 0.20262 | 0.35 | 0.6131 | 0.4262 | 0.3631 | 0.2631 | 0.4131 | 0.3131 | 0.5262 | 0.6262 | 0.4262 | 285.9143 | 0.64137
22.5 | 0.79577 | 795.7729 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.20513 | #REF! | #REF! | 0.20513 | #NA | 0.3 | 0.3 | 0.3 | 0.20513 | #REF! | #REF! | 0.20513 | 0.35 | 0.35 | 22.5 | 0.35 | 0.20513 | 0.3 | 0.20513 | 0.35 | 0.62566 | 0.45133 | 0.37566 | 0.27566 | 0.42566 | 0.32566 | 0.55133 | 0.65133 | 0.45133 | 285.9143 | 0.65708
20 | 0.70735 | 707.3536 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.20827 | #REF! | #REF! | 0.20827 | #NA | 0.3 | 0.3 | 0.3 | 0.20827 | #REF! | #REF! | 0.20827 | 0.35 | 0.35 | 20 | 0.35 | 0.20827 | 0.3 | 0.20827 | 0.35 | 0.64137 | 0.48274 | 0.39137 | 0.29137 | 0.44137 | 0.34137 | 0.58274 | 0.68274 | 0.48274 | 285.9143 | 0.67672
17.5 | 0.61893 | 618.9344 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.21231 | #REF! | #REF! | 0.21231 | #NA | 0.3 | 0.3 | 0.3 | 0.21231 | #REF! | #REF! | 0.21231 | 0.35 | 0.35 | 17.5 | 0.35 | 0.21231 | 0.3 | 0.21231 | 0.35 | 0.66157 | 0.52314 | 0.41157 | 0.31157 | 0.46157 | 0.36157 | 0.62314 | 0.72314 | 0.52314 | 285.9143 | 0.70196
15 | 0.53052 | 530.5152 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2177 | #REF! | #REF! | 0.2177 | #NA | 0.3 | 0.3 | 0.3 | 0.2177 | #REF! | #REF! | 0.2177 | 0.35 | 0.35 | 15 | 0.35 | 0.2177 | 0.3 | 0.2177 | 0.35 | 0.6885 | 0.57699 | 0.4385 | 0.3385 | 0.4885 | 0.3885 | 0.67699 | 0.77699 | 0.57699 | 285.9143 | 0.73562
12.5 | 0.4421 | 442.096 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.22524 | #REF! | #REF! | 0.22524 | #NA | 0.3 | 0.3 | 0.3 | 0.22524 | #REF! | #REF! | 0.22524 | 0.35 | 0.35 | 12.5 | 0.35 | 0.22524 | 0.3 | 0.22524 | 0.35 | 0.7262 | 0.65239 | 0.4762 | 0.3762 | 0.5262 | 0.4262 | 0.75239 | 0.85239 | 0.65239 | 285.9143 | 0.78274
10 | 0.35368 | 353.6768 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.23655 | #REF! | #REF! | 0.23655 | #NA | 0.3 | 0.3 | 0.3 | 0.23655 | #REF! | #REF! | 0.23655 | 0.35 | 0.35 | 10 | 0.35 | 0.23655 | 0.3 | 0.23655 | 0.35 | 0.78274 | 0.76549 | 0.53274 | 0.43274 | 0.58274 | 0.48274 | 0.86549 | 0.96549 | 0.76549 | 285.9143 | 0.85343
9 | 0.31831 | 318.3091 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.24283 | #REF! | #REF! | 0.24283 | #NA | 0.3 | 0.3 | 0.3 | 0.24283 | #REF! | #REF! | 0.24283 | 0.35 | 0.35 | 9 | 0.35 | 0.24283 | 0.3 | 0.24283 | 0.35 | 0.81416 | 0.82832 | 0.56416 | 0.46416 | 0.61416 | 0.51416 | 0.92832 | 1.0283 | 0.82832 | 285.9143 | 0.8927
8 | 0.28294 | 282.9415 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.25069 | #REF! | #REF! | 0.25069 | #NA | 0.3 | 0.3 | 0.3 | 0.25069 | #REF! | #REF! | 0.25069 | 0.70686 | 0.70686 | 8 | 0.35 | 0.25069 | 0.3 | 0.25069 | 0.70686 | 0.85343 | 0.90686 | 0.60343 | 0.50343 | 0.65343 | 0.55343 | 1.0069 | 1.1069 | 0.90686 | 285.9143 | 0.94179
7 | 0.24757 | 247.5738 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.26078 | #REF! | #REF! | 0.26078 | #NA | 0.3 | 0.3 | 0.3 | 0.26078 | #REF! | #REF! | 0.26078 | 0.80784 | 0.80784 | 7 | 0.35 | 0.26078 | 0.3 | 0.26078 | 0.80784 | 0.90392 | 1.0078 | 0.65392 | 0.55392 | 0.70392 | 0.60392 | 1.1078 | 1.2078 | 1.0078 | 285.9143 | 1.0098
6 | 0.21221 | 212.2061 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.27425 | #REF! | #REF! | 0.27425 | #NA | 0.3 | 0.3 | 0.3 | 0.27425 | #REF! | #REF! | 0.27425 | 0.94248 | 0.94248 | 6 | 0.35 | 0.27425 | 0.3 | 0.27425 | 0.94248 | 0.97124 | 1.1425 | 0.72124 | 0.62124 | 0.77124 | 0.67124 | 1.2425 | 1.3425 | 1.1425 | 285.9143 | 1.1781
5 | 0.17684 | 176.8384 | #NA | 0.35 | 0.35 | 0.35 | #NA | 0.35 | 0.2931 | #REF! | #REF! | 0.2931 | #NA | 0.3 | 0.3 | 0.3 | 0.2931 | #REF! | #REF! | 0.2931 | 1.131 | 1.131 | 5 | 0.35 | 0.2931 | 0.3 | 0.2931 | 1.131 | 1.0655 | 1.331 | 0.81549 | 0.71549 | 0.86549 | 0.76549 | 1.431 | 1.531 | 1.331 | 285.9143 | 1.4137
4 | 0.14147 | 141.4707 | #NA | 0.35343 | 0.35343 | 0.35343 | #NA | 0.35343 | 0.35343 | #REF! | #REF! | 0.35343 | #NA | 0.35343 | 0.35343 | 0.35343 | 0.35343 | #REF! | #REF! | 0.35343 | 1.4137 | 1.4137 | 4 | 0.35343 | 0.35343 | 0.35343 | 0.35343 | 1.4137 | 1.2069 | 1.6137 | 0.95686 | 0.85686 | 1.0069 | 0.90686 | 1.7137 | 1.8137 | 1.6137 | 283.1415 | 1.7672
3 | 0.1061 | 106.103 | #NA | 0.47124 | 0.47124 | 0.47124 | #NA | 0.47124 | 0.47124 | #REF! | #REF! | 0.47124 | #NA | 0.47124 | 0.47124 | 0.47124 | 0.47124 | #REF! | #REF! | 0.47124 | 1.885 | 1.885 | 3 | 0.47124 | 0.47124 | 0.47124 | 0.47124 | 1.885 | 1.4425 | 2.085 | 1.1925 | 1.0925 | 1.2425 | 1.1425 | 2.185 | 2.285 | 2.085 | 212.4061 | 2.3562
2 | 0.070735 | 70.7354 | #NA | 0.70686 | 0.70686 | 0.70686 | #NA | 0.70686 | 0.70686 | #REF! | #REF! | 0.70686 | #NA | 0.70686 | 0.70686 | 0.70686 | 0.70686 | #REF! | #REF! | 0.70686 | 2.8274 | 2.8274 | 2 | 0.70686 | 0.70686 | 0.70686 | 0.70686 | 2.8274 | 1.9137 | 3.0274 | 1.6637 | 1.5637 | 1.7137 | 1.6137 | 3.1274 | 3.2274 | 3.0274 | 141.6707 | 3.5343
1 | 0.035368 | 35.3677 | #NA | 1.4137 | 1.4137 | 1.4137 | #NA | 1.4137 | 1.4137 | #REF! | #REF! | 1.4137 | #NA | 1.4137 | 1.4137 | 1.4137 | 1.4137 | #REF! | #REF! | 1.4137 | 5.6549 | 5.6549 | 1 | 1.4137 | 1.4137 | 1.4137 | 1.4137 | 5.6549 | 3.3274 | 5.8549 | 3.0774 | 2.9774 | 3.1274 | 3.0274 | 5.9549 | 6.0549 | 5.8549 | 70.9354 | 7.0686
0
[36 empty] | ABB Q Max look up | 60
0.012
0.21221
0.84882
1.4137
Accuracy for PFA and Ceramic depending on the size of the Unit and liner. 15mm PFA/Ceramic, 25-200mm ceramic, 25-400mm PFA
Based on user input, pulls in correct accuracy from the previous three.
Accuracy for HR/NSR/POLY for 25mm-400mm. takes into consideration Poly for 25mm and above and HR/NSR for 50mm and above
Final "Standard Accuracy for AXF". based on the user inputs it selects tehaccuracy from the previous 2 coloumns
High accuracy Calculations for 25mm-200mm (regardsless of liner)
Final High Accuracy value, taking into consideration size and liner
AXG Accuracy for PFA and Ceramic depending on the size of the Unit and liner. 15mm PFA/Ceramic, 25-200mm ceramic, 25-400mm PFA
Based on user input, pulls in correct accuracy from the previous three.
Accuracy for PTFE/HR/NSR/POLY for 25mm-400mm. takes into consideration Poly for 25mm and above and HR/NSR for 50mm and above
Final "Standard Accuracy for AXW".
High accuracy Calculations for AXG for 25mm-200mm (regardsless of liner)